{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Example C1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":16,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Example C1","index":0,"n_rows":27,"n_cols":8,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,2,1,4],[1,5,1,7],[0,2,0,7]]}
[null,null,"Cholesterol (mg/dL)"]
["ID","Sample Type","A",null,null,"B"]
[1,"Patient",206.27,213.13,204.53,217.43,208.78,219.86]
[2,"Patient",143.71,146.44999999999999,144.76,161.57,161.94999999999999,163.32]
[3,"Patient",118.59,117.81,126.21,127.43,133.13999999999999,129.01]
[4,"Patient",224.56,231.18,222.17,246.47,236.57,245.42]
[5,"Patient",249.09,248.05,247.22,266.61,274.72000000000003,261.04000000000002]
[6,"Patient",206.03,205.6,202.75,217.59,215.63,222.02]
[7,"Patient",220.74,224.57,217.09,236.31,241.65,240.33]
[8,"Patient",175.12,173.99,181.63,182.33,191.41,195.36]
[9,"Patient",242.66,245.04,245.72,269.62,272.5,265.39]
[10,"Patient",162.58000000000001,158.43,162.55000000000001,177.67,169.33,173.15]
[11,"Patient",131.18,137.38,128.5,137.68,131.66,144.66999999999999]
[12,"Patient",242.84,247.71,250.34,264.58,270.42,268.85000000000002]
[13,"Patient",133.99,140.22999999999999,138.34,155.63999999999999,153.43,150.03]
[14,"Patient",226.87,209.17,216.33,238.32,241.54,242.92]
[15,"Patient",259.22000000000003,257.44,254.87,285.08999999999997,283.05,282.52999999999997]
[16,"Patient",180.03,178.13,182.35,188.97,200.6,196.3]
[17,"Patient",99.39,106.08,103.99,110.16,108.02,111.61]
[18,"Patient",276.38,279.19,276.33999999999997,284.93,298.45999999999998,304.16000000000003]
[19,"Patient",126.17,132.06,123.88,135.88999999999999,138.1,138.66]
[20,"Patient",181.95,173.08,181.81,192.45,201.37,193.65]
["a","Processed",107.17,106.39,113.02,117.6,107.32,105.53]
["b","Processed",122.86,124.04,122.47,131.54,140.26,139.05000000000001]
["c","Processed",150,143.63,147.22,182.85,170.44,172.81]
["d","Processed",198.39,200.01,196.92,215.74,221.86,210.35]
["e","Processed",221.84,221.94,223.17,250.75,241.86,239.59]